## devices
device	protocole	IP	byte_order	word_order	type_registers	port	statut
dummy1	modbus	localhost	big	big	holding	9004	actif
dummy2	modbus	localhost	big	little	holding	6500	actif
dummy_opcua	opcua	localhost					inactif

## dummy1
tag	description	scale	unit	type	intaddress	size(mots)	slave_unit	frequency	minimum	maximum
PT_L5_H2O.HM05	pressure water line 5	10	mbar	float32	10	2	1	2	0	5000
TT_L5_H2O.HM05	Temperature of water exchanger line 5	100	C	int32	26	2	1	0,1	-50	150
PT_L7_H2O.HM05	pressure water line 7	100	mbar	float32	32	2	1	5	0	5000
PT_L6_N2.HM05	pressure n2 line 6	10	mbar	float32	34	2	2	5	0	5000
FT_L6_N2.HM05	Debit N2	10	g/s	float32	36	2	2	1	0	1000
FT_L12_H2.HM05	debit H2	100	g/s	float32	68	2	1	10	0	1000
V_C_TIME.CN	temps de fonctionnement	100	h	int16	70	1	1	60	0	100000

## dummy2
tag	description	scale	unit	type	intaddress	slave_unit	frequency	minimum	maximum
C1_KWH.HM05	consumption of building	10	kWh	int64	2	1	5	0	10000000
P1_KWH.HM05	production of building	0,1	kWh	int32	12	1	5	0	10000000